## Slide 1: Strain Gauge Displacement Transducer
Geosc597-003
12/8/16
Ben Madara

## Slide 2: Problem
Indirect measurement
Space limitations

## Slide 3: Solution: Strain Gauge Displacement Transducer
Mechanical
  3d print for sizing
  Diamond shape design to employ Wheatstone bridge
  Prototype larger for simplicity
  High elastic yield point (aluminum alloy)
Electrical
  Wheatstone bridge
  Signal amplification
Programming
  Record data through Arduino

## Slide 4: Workflow
3d Print
Bench Test
Programming
Amplifier: INA128
Resistors
Capacitor

## Slide 5: Results

## Slide 6: Results/Future Work
Still too noisy for calibration
New strain gauges and amplifiers
Downsize for Pressure Vessel