## Slide 1: 3D LASER PROFILOMETER
Srisharan

## Slide 2: The problem - Rock surface roughness imaging
Source: UNAVCO and Muralha et al. (2014)

## Slide 3: Project objective
Create an inexpensive Arduino based laser scanner prototype for rock surface scanning in the Penn State Rock Mechanics lab

## Slide 4: Working principle

## Slide 5: Working principle

## Slide 6: Working principle

## Slide 7: Working principle

## Slide 8: Working principle

## Slide 9: Working principle

## Slide 10: List of parts
Sparkfun RedBoard and associated parts (eg. jumper cables, breadboard etc.)
10k potentiometers x 2
Line laser module
Logitech webcam
NEMA 17 stepper motor (200 steps/revolution or 1.8o resolution)
TB6612 Stepper driver
100 uF capacitor
Open source codes – Arduino 1.6.11 and Processing 3.2.1

## Slide 11: Mechanical build

## Slide 12: Circuitry

## Slide 13: Proof of concept results

## Slide 14: Challenges
Environmental reds interacting with poor webcam contrasts
Microstepping and pulse width modulation
Lens curvature distortion

## Slide 15: Future work
Better resolution
Mirostepping or using geared DC motor for non-jerky movements
‘Blackbox’ for the setup
Using Python/Matlab for pointcloud instead of Processing

## Slide 16: Takeaways
Learnt some fundamentals of electrical circuitry and profilometry
Learnt all about stepper motor drivers
Preemptive vs reactive design considerations